## FeederNames (hidden)
Management Console Name | Customer Name |  | SourceID for KVA Demand |  |  | Source ID for Avg KVA
LT_Room.Main_Incomer
| LT_Room.LT_Panel_Main_Incomer | LT_Room.Main_Incomer | LT_Room.LT_Panel_Main_Incomer | LT_Room.Shop_Floor_and_Utility_Lighting | LT_Room.Shaft | LT_Room.Transmission_Flange | LT_Room.APFC_Incomer | LT_Room.Wheel_Flange | LT_Room.Office_Building | LT_Room.Shaft_EFD | LT_Room.Flange_Line_EFD | LT_Room.Fire_Hydrant | LT_Room.Lighting_DB | LT_Room.Utility_Incomer | LT_Room.Cooling_Tower | LT_Room.Shop_Floor_Office_Lighting_AC | LT_Room.Compressor_75KW | LT_Room.Compressor_55KW | LT_Room.HTP | LT_Room.ETP | Shaft.Shaft_Incomer | Shaft.Shaft_Uno_1 | Shaft.Shaft_Uno_2 | Shaft.Rolling | Shaft.Robot_892 | Shaft.Washing_Machine | Shaft.Robot_891 | Shaft.Shaft_MPI | Shaft.Shaft_Assembly | Spider.Spider_Incomer | Spider.Spider_Gantry | Spider.Turning | Spider.Broching | Spider.Centerless_Grinding | Spider.Smarter | Wheel_Flange.Wheel_Flange_Incomer | Wheel_Flange.Thread_Rolling | Wheel_Flange.Robot_893 | Wheel_Flange.OD_Griding | Wheel_Flange.Gantry | Wheel_Flange.Rolling | Wheel_Flange.Keyway_Milling | Wheel_Flange.Robot_894 | Wheel_Flange.Turning | Transmission_Flange.Transmission_Flange_Incomer | Transmission_Flange.Turning_Machine | Transmission_Flange.Gantry | Transmission_Flange.Smarter | Transmission_Flange.MPI | Transmission_Flange.UPS_R_and_D_Building | Transmission_Flange.Gainding_Machine | Transmission_Flange.Broching_Machine | Power_DB.Power_DB_Incomer | Transmission_Flange.Final_Washing_Machine | Power_DB.ToolRoom_Store_DB_Box | Power_DB.Security_Gate | Spare-1 | Spare-2 | Spare-3 | Spare-4 | Spare-5 | Q3_PCC1.4F4_Office_Panel | Q3_PCC1.5F2_PDB1_Main_RPDB | Q3_PCC1.5F1_SPARE1 | Q3_PCC1.5F3_SPARE2 | Q3_PCC1.5F4_SPARE3 | Q3_PCC1.6F3_PDB4 | Q3_PCC1.6F4_MLDB | Q3_PCC1.7F3_Server_Room | Q3_PCC1.7F4_PH_II_Utility_Panel | Q3_PCC1.4F1_STP | Q3_PCC1.6F2_SPARE4 | Q3_Tech.1F2_UPS_Incomer_DB3 | Q3_Tech.1F1_UPS1 | Q3_Tech.1F2_UPS2 | Q3_Tech.1F3_UPS3 | Q3_Tech.1F5_UPS_Incomer_DB1 | Q3_Tech.2F1_LGF_LTG_27A | Q3_Tech.2F2_UGF_LTG_27A | Q3_Tech.2F3_SPARE1 | Q3_Tech.2F4_SPARE2 | Q3_Tech.2F5_UPS_Incomer_DB3 | Q3_Tech.1F2_PDB1_Main_RPDB | Q3_Tech.1F6_PDB2 | Q3_Tech.1F2_MLDB_MEZZ1_Technic_RM | Q3_Tech.2F3_MLDB1 | Q3_Tech.1F2_PDB3_HVAC_Panel | PH2_Utility.1F2_Incomer_Panel | PH2_Utility.2F1_Security_Cabin3 | PH2_Utility.2F2_Security_Cabin4 | PH2_Utility.2F3_Security_Cabin5 | PH2_Utility.2F4_SPARE1 | PH2_Utility.2F5_MDB4 | PH2_Utility.2F6_SPARE2 | Q3_Office.1F2_Office_Panel_IC | Q3_Office.2F3_Incomer_for_RPDBS | Q3_Office.3F5_MZZ2_Office_Area | Q3_Office.3F4_MZZ1_Office_Area | Q3_Office.4F2_SPARE1 | Q3_Office.4F3_UPS_40KW | Q3_Office.4F4_SPARE2 | Q3_Office.4F5_SPARE3 | Q3_Office.3F1_Incomer_for_LDBS | Q3_Office.3F2_Lift | Q3_Office.3F3_LGF_Office | ION.7650 | WHP_PCC1.1F3_PCC1_IC | WHP_PCC1.2F3_PCC2 | WHP_PCC1.2F4_HVAC | WHP_PCC1.3F3_FIRE_FTG | WHP_PCC1.3F4_SPARE | WHP_PCC2.1F2_PCC2_IC | WHP_PCC2.1F5_MLDB1 | WHP_PCC2.1F6_UPS_IC | WHP_PCC2.2F7_MLDB2 | WHP_PCC2.2F8_MRPDB | WHP_PCC2.3F8_SPARE | WHP_UPS_OG.1F1_IC1_UPS1 | WHP_UPS_OG.1F2_IC2_UPS2 | WHP_UPS_OG.1F3_IC3_UPS3 | WHP_UPS_IC.1F2_UPS_IC | WHP_MELDB_1.1F2_IC_MELDB1 | WHP_MLDB1.1F1_IC_MLDB1 | WHP_MRPDB.1F2_IC_MRPDB | WHP_HVAC.1F2_IC_HVAC | KIOSK.QIII_RMU | KIOSK.QI_QII_RMU | KIOSK.PS_RMU
LT_Room.Shop_Floor_and_Utility_Lighting
LT_Room.Shaft
LT_Room.Transmission_Flange
LT_Room.APFC_Incomer
LT_Room.Wheel_Flange
LT_Room.Office_Building
LT_Room.Shaft_EFD
LT_Room.Flange_Line_EFD
LT_Room.Fire_Hydrant
LT_Room.Lighting_DB
LT_Room.Utility_Incomer
LT_Room.Cooling_Tower
LT_Room.Shop_Floor_Office_Lighting_AC
LT_Room.Compressor_75KW
LT_Room.Compressor_55KW
LT_Room.HTP
LT_Room.ETP
Shaft.Shaft_Incomer
Shaft.Shaft_Uno_1
Shaft.Shaft_Uno_2
Shaft.Rolling
Shaft.Robot_892
Shaft.Washing_Machine
Shaft.Robot_891
Shaft.Shaft_MPI
Shaft.Shaft_Assembly
Spider.Spider_Incomer
Spider.Spider_Gantry
Spider.Turning
Spider.Broching
Spider.Centerless_Grinding
Spider.Smarter
Wheel_Flange.Wheel_Flange_Incomer
Wheel_Flange.Thread_Rolling
Wheel_Flange.Robot_893
Wheel_Flange.OD_Griding
Wheel_Flange.Gantry
Wheel_Flange.Rolling
Wheel_Flange.Keyway_Milling
Wheel_Flange.Robot_894
Wheel_Flange.Turning
Transmission_Flange.Transmission_Flange_Incomer
Transmission_Flange.Turning_Machine
Transmission_Flange.Gantry
Transmission_Flange.Smarter
Transmission_Flange.MPI
Transmission_Flange.UPS_R_and_D_Building
Transmission_Flange.Gainding_Machine
Transmission_Flange.Broching_Machine
Power_DB.Power_DB_Incomer
Transmission_Flange.Final_Washing_Machine
Power_DB.ToolRoom_Store_DB_Box
Power_DB.Security_Gate
Spare-1
Spare-2
Spare-3
Spare-4
Spare-5
Utility_Panel.Scrap_Yard
Utility_Panel.STP
Utility_Panel.Compressor
Compressor.Incomer
Compressor.1
Compressor.2
Compressor.Spare
A_PDB01.Incomer
Compressor.3
M_UPS_Panel.Incomer
M_UPS_Panel.Incomer2
A_MPDB01.Incomer
A_MPDB02.Incomer
A_MPDB03.Incomer
A_Pump_Line.HPP
A_Pump_Line.LPP
A_Injector_Line.Panel01
A_Injector_Line.Panel02
A_Injector_Line.Panel03
A_Dozzer_Panel.Incomer
A_Clean_Room_HVAC.Incomer
A_Clean_Room_HVAC.Chiller2
A_Clean_Room_HVAC.Chiller3
A_Non_Clean_HVAC.Incomer
A_Non_Clean_HVAC.Chiller01
A_Pump_Panel.Incomer
A_AHU.1_Panel_Incomer
A_AHU.2_Panel_Incomer
A_AHU.3_Panel_Incomer
A_DHU.Panel01
A_DHU.Panel02
A_DHU.Panel03
M_MDB2.Incomer
M_MPDP03.Incomer
M_MPDP03.Sigiya1
M_MPDP03.Spare1
M_MPDP03.Grinding4
M_MPDP03.Sigiya2
M_MPDP03.Washing_Machine
M_MPDP03.Grinding3
M_MPDP03.Spare2
M_MPDP03.Laser_Needleline
M_MPDP03.Spare3
M_MPDP03.Spare4
M_MPDP03.Grinding5
M_MPDP03.Grinding6
M_MPDP04.Incomer
M_MPDP04.Laser_Nozzleline
M_MPDP04.Sonplas1
M_MPDP04.Flow_Checking_MC3
M_MPDP04.Abrasive_Flow_MC2
M_MPDP04.Abrasive_Flow_MC1
M_MPDP04.Sleeve_Id_Grinding_1
M_MPDP04.Spare8
M_MPDP04.Spare7
M_MPDP04.Flow_Checking_MC4
M_MPDP04.Sonplas2
M_MPDP04.Spare5
M_MPDP04.Spare6
M_MPDP05.Incomer
M_MPDP05.Spare5
M_MPDP05.CMT_Machine
M_MPDP05.OD_Grinding1
M_MPDP05.Spare6
M_MPDP05.Demagnetizer
M_MPDP05.Washing_MC_Nozzle
M_MPDP05.Spare7
M_MPDP05.Admin_Office_HVAC
M_MPDP05.Seat_ID_Facegrinding1
M_MPDP06.Incomer
M_MPDP06.Spare2
M_MPDP06.Spare1
M_MPDP06.Washing_MC_RL
M_MPDP06.AFM_MC_Chiller
M_MPDP06.Kardex_RPDB
M_MPDP06.Spare3
M_MPDP06.Nakamura_01
M_MPDP06.Nakamura_02
M_MPDP06.Nozzle_Seal_ID1
M_MPDB.Incomer
M_MLDB.Incomer
M_UPS_MDB1.Incomer
M_UPS_MDB2.Incomer
M_UPS_MDB2.Spare1
M_UPS_MDB2.Spare2
M_UPS_MDB2.UVA1_1D_Grinding
M_UPS_MDB2.UVA2_1D_Grinding
M_EDM_MC_Panel.Incomer
M_EDM_MC_Panel.EDM_MC1
M_EDM_MC_Panel.EDM_MC2
M_EDM_MC_Panel.EDM_MC3
M_EDM_MC_Panel.EDM_MC4
M_EDM_MC_Panel.EDM_MC5
M_EDM_MC_Panel.Gauges_UPS_DB
M_EDM_MC_Panel.Spare3
M_EDM_MC_Panel.Spare4
M_Main_HVAC_Panel.Incomer
M_Main_HVAC_Panel.AHU_01
M_Main_HVAC_Panel.AHU_02
M_Main_HVAC_Panel.AHU_03
M_HVLS_Fan_Panel1.Incomer
C_MDB1.Incomer
C_MPDP01.Incomer
C_MPDP01.Spare1
C_MPDP01.Spare2
C_MPDP01.Spare3
C_MPDP01.Spare4
C_MPDP01.Welding_Machine1
C_MPDP01.EGP_Assembly1
C_MPDP01.Spare5
C_MPDP01.Laser_Marking
C_MPDP01.Welding_Machine2
C_MPDP01.EGP_Assembly2
C_MPDP01.EGP_Assembly3
C_MPDP01.Welding_Machine3
C_MPDP02.Incomer
C_MPDP02.Spare6
C_MPDP02.Spare7
C_MPDP02.Spare8
C_MPDP02.Spare9
C_MPDP02.Bracket_Assembly1
C_MPDP02.Bracket_Assembly2
C_MPDP02.Bracket_Assembly3
C_MPDP02.Bracket_Assembly4
C_Clean_Room_Panel.Incomer
C_Clean_Room_Panel.Spare2
C_Clean_Room_Panel.DU_Line_MP2
C_Clean_Room_Panel.DU_Line_MP1
C_Clean_Room_Panel.SU_Line_MP
C_Clean_Room_Panel.SU_Line_OP_110
C_Clean_Room_Panel.Compact_80C_Durr2
C_Clean_Room_Panel.Spare1
C_Clean_Room_Panel.Compact_80C_Durr1
C_Clean_Room_Panel.DU_Line_MP3
C_AHU_Panel.Incomer
C_HVAC_Panel_CR.Incomer
C_HVAC_Panel_CR.AHU_Panel
C_HVAC_Panel_CR.Chiller1
C_HVAC_Panel_CR.Chiller2
C_HVAC_Panel_CR.Spare3
C_HVAC_Panel_CR.Spare4
C_HVAC_Panel_CR.Pump_Panel
C_HVLS_Panel.Incomer

## Production data
Feeder Description | 2025-09-01 | 2025-09-02 | 2025-09-03 | 2025-09-04 | 2025-09-05 | 2025-09-06 | 2025-09-07 | 2025-09-08 | 2025-09-09 | 2025-09-10 | 2025-09-11 | 2025-09-12 | 2025-09-13 | 2025-09-14 | 2025-09-15 | 2025-09-16 | 2025-09-17 | 2025-09-18 | 2025-09-19 | 2025-09-20 | 2025-09-21 | 2025-09-22 | 2025-09-23 | 2025-09-24 | 2025-09-25 | 2025-09-26 | 2025-09-27 | 2025-09-28 | 2025-09-29 | 2025-09-30 | 2025-10-01
FLANGE EFD |  | 818 | 1807 | 2015 | 1806 |  | 1310 | 1189 | 1740 | 929 | 1595 | 1495 | 1517 | 770 | 2011 | 1859 | 1800 | 1362 | 1683 | 1535 | 799 | 1820 | 1481 | 1654 | 2012 | 1754 | 1893 | 1442 | 1553 | 253
WHEEL FLANGE OD GRINDING |  | 331 | 1041 | 955 | 396 |  | 771 | 537 | 1075 | 466 | 881 | 766 | 726 | 300 | 876 | 978 | 1037 | 816 | 0 | 881 | 369 | 495 | 704 | 955 | 248 | 510 | 706 | 652 | 932 | 154
TF OD GRINDING
SHAFT CNC |  | 623 | 370 | 580 | 300 |  | 448 | 400 | 347 | 473 | 432 | 550 | 670 | 260 | 711 | 749 | 192 | 560 | 804 | 821 | 0 | 635 | 271 | 150 | 130 | 442 | 550 | 130 | 740 | 340
SHAFT EFD |  | 1028 | 672 | 796 | 646 |  | 504 | 726 | 796 | 472 | 554 | 392 | 1202 | 366 | 541 | 1123 | 652 | 1002 | 1092 | 462 | 0 | 1068 | 487 | 1376 | 576 | 622 | 710 | 1022 | 599 | 774
SPIDER TURNING |  | 690 | 805 | 700 | 756 |  | 756 | 743 | 770 | 761 | 847 | 789 | 803 | 0 | 783 | 814 | 755 | 857 | 777 | 651 | 0 | 651 | 676 | 798 | 620 | 710 | 482 | 0 | 620 | 300
SPIDER TURNING SMARTER |  | 665 | 706 | 732 | 946 |  | 865 | 884 | 880 | 367 | 584 | 822 | 430 | 0 | 848 | 782 | 922 | 808 | 692 | 536 | 0 | 507 | 671 | 796 | 619 | 710 | 480 | 0 | 643 | 300
SPIDER BROACHING |  | 230 | 813 | 1030 | 915 |  | 985 | 850 | 900 | 840 | 1013 | 470 | 0 | 0 | 0 | 0 | 0 | 315 | 430 | 80 | 0 | 80 | 602 | 130 | 0 | 0 | 0 | 0 | 0 | 0
SPIDER CENTERLESS GRINDING-1 |  | 698 | 1133 | 1139 | 1169 |  | 0 | 433 | 1200 | 1170 | 1068 | 1124 | 1280 | 0 | 1106 | 1140 | 1225 | 1190 | 675 | 890 | 425 | 968 | 1255 | 1271 | 1191 | 1415 | 1305 | 1010 | 1353 | 210
SPIDER CENTERLESS GRINDING-2 |  | 991 | 1010 | 1005 | 603 |  | 0 | 0 | 1074 | 880 | 1068 | 520 | 846 | 567 | 1011 | 1099 | 1105 | 1091 | 0 | 751 | 275 | 865 | 1169 | 1267 | 1125 | 1395 | 1371 | 782 | 970 | 0
WHEEL FLANGE THREAD ROLLING |  | 700 | 742 | 835 | 1223 |  | 1125 | 1000 | 497 | 436 | 214 | 380 | 1208 | 450 | 543 | 1100 | 440 | 374 | 0 | 1155 | 264 | 820 | 1440 | 890 | 0 | 700 | 980 | 0 | 995 | 0
WHEEL FLANGE TURNING |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TF TURNING TT |  | 0 | 0 | 0 | 0 |  | 0 | 175 | 360 | 246 | 0 | 619 | 0 | 0 | 0 | 0 | 593 | 400 | 460 | 204 | 0 | 105 | 213 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ASSEMBLY LINE |  | 0 | 597 | 628 | 913 |  | 523 | 0 | 1004 | 1157 | 0 | 1046 | 0 | 744 | 1089 | 1083 | 960 | 958 | 345 | 801 | 0 | 1235 | 1167 | 925 | 400 | 517 | 1125 | 1063 | 764 | 684
SHAFT RACK ROLLING |  | 1159 | 918 | 1274 | 1216 |  | 1170 | 1055 | 567 | 589 | 800 | 555 | 858 | 512 | 632 | 1264 | 1055 | 850 | 960 | 440 | 0 | 1236 | 841 | 791 | 568 | 846 | 710 | 936 | 617 | 692

## Sep 2025
|  |  | 2025-09-01 |  |  |  | 2025-09-02 |  |  |  | 2025-09-03 |  |  |  | 2025-09-04 |  |  |  | 2025-09-05 |  |  |  | 2025-09-06 |  |  |  | 2025-09-07 |  |  |  | 2025-09-08 |  |  |  | 2025-09-09 |  |  |  | 2025-09-10 |  |  |  | 2025-09-11 |  |  |  | 2025-09-12 |  |  |  | 2025-09-13 |  |  |  | 2025-09-14 |  |  |  | 2025-09-15 |  |  |  | 2025-09-16 |  |  |  | 2025-09-17 |  |  |  | 2025-09-18 |  |  |  | 2025-09-19 |  |  |  | 2025-09-20 |  |  |  | 2025-09-21 |  |  |  | 2025-09-22 |  |  |  | 2025-09-23 |  |  |  | 2025-09-24 |  |  |  | 2025-09-25 |  |  |  | 2025-09-26 |  |  |  | 2025-09-27 |  |  |  | 2025-09-28 |  |  |  | 2025-09-29 |  |  |  | 2025-09-30 |  |  |  | 2025-10-01 |  |  |  | Total
Sr No | Feeder Description | Group | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc | KWH | Prod. | KWH\ Pc | Cost/ Pc
10 | LT ROOM FLANGE EFD |  | 3 | 0 | 0 | 0 | 649 | 818 | 0.7934 | 7.1723 | 888 | 1807 | 0.49142 | 4.4425 | 927 | 2015 | 0.46005 | 4.1588 | 912 | 1806 | 0.50498 | 4.565 | 49 | 0 | 0 | 0 | 813 | 1310 | 0.62061 | 5.6103 | 786 | 1189 | 0.66106 | 5.976 | 882 | 1740 | 0.5069 | 4.5823 | 545 | 929 | 0.58665 | 5.3033 | 921 | 1595 | 0.57743 | 5.22 | 885 | 1495 | 0.59197 | 5.3514 | 820 | 1517 | 0.54054 | 4.8865 | 473 | 770 | 0.61429 | 5.5531 | 949 | 2011 | 0.4719 | 4.266 | 939 | 1859 | 0.50511 | 4.5662 | 903 | 1800 | 0.50167 | 4.5351 | 773 | 1362 | 0.56755 | 5.1306 | 872 | 1683 | 0.51812 | 4.6838 | 972 | 1535 | 0.63322 | 5.7244 | 488 | 799 | 0.61076 | 5.5213 | 832 | 1820 | 0.45714 | 4.1326 | 921 | 1481 | 0.62188 | 5.6218 | 898 | 1654 | 0.54293 | 4.9081 | 962 | 2012 | 0.47813 | 4.3223 | 928 | 1754 | 0.52908 | 4.7829 | 965 | 1893 | 0.50977 | 4.6083 | 710 | 1442 | 0.49237 | 4.451 | 968 | 1553 | 0.62331 | 5.6347 | 280 | 253 | 1.1067 | 10.0047 |  | 0 | 0 | 0 | 22913 | 40592 | 0.56447 | 5.1028
14 | LT ROOM COOLING TOWER |  | 2 | 0 | 0 | 0 | 348 | 818 | 0.42543 | 3.8459 | 273 | 1807 | 0.15108 | 1.3658 | 309 | 2015 | 0.15335 | 1.3863 | 319 | 1806 | 0.17663 | 1.5968 | 21 | 0 | 0 | 0 | 227 | 1310 | 0.17328 | 1.5665 | 266 | 1189 | 0.22372 | 2.0224 | 314 | 1740 | 0.18046 | 1.6314 | 338 | 929 | 0.36383 | 3.289 | 277 | 1595 | 0.17367 | 1.57 | 265 | 1495 | 0.17726 | 1.6024 | 335 | 1517 | 0.22083 | 1.9963 | 166 | 770 | 0.21558 | 1.9489 | 326 | 2011 | 0.16211 | 1.4655 | 335 | 1859 | 0.1802 | 1.629 | 338 | 1800 | 0.18778 | 1.6975 | 340 | 1362 | 0.24963 | 2.2567 | 337 | 1683 | 0.20024 | 1.8101 | 255 | 1535 | 0.16612 | 1.5018 | 100 | 799 | 0.12516 | 1.1314 | 314 | 1820 | 0.17253 | 1.5596 | 301 | 1481 | 0.20324 | 1.8373 | 337 | 1654 | 0.20375 | 1.8419 | 313 | 2012 | 0.15557 | 1.4063 | 270 | 1754 | 0.15393 | 1.3916 | 301 | 1893 | 0.15901 | 1.4374 | 230 | 1442 | 0.1595 | 1.4419 | 352 | 1553 | 0.22666 | 2.049 | 248 | 253 | 0.98024 | 8.8613 |  | 0 | 0 | 0 | 8157 | 40592 | 0.20095 | 1.8166
48 | TF MPI |  | 0 | 0 | 0 | 0 | 11 | 818 | 0.013447 | 0.12156 | 12 | 1807 | 0.0066408 | 0.060033 | 14 | 2015 | 0.0069479 | 0.062809 | 12 | 1806 | 0.0066445 | 0.060066 | 0 | 0 | 0 | 0 | 10 | 1310 | 0.0076336 | 0.069008 | 12 | 1189 | 0.010093 | 0.091236 | 13 | 1740 | 0.0074713 | 0.06754 | 11 | 929 | 0.011841 | 0.10704 | 14 | 1595 | 0.0087774 | 0.079348 | 16 | 1495 | 0.010702 | 0.096749 | 11 | 1517 | 0.0072512 | 0.06555 | 9 | 770 | 0.011688 | 0.10566 | 13 | 2011 | 0.0064644 | 0.058439 | 14 | 1859 | 0.0075309 | 0.06808 | 13 | 1800 | 0.0072222 | 0.065289 | 13 | 1362 | 0.0095448 | 0.086285 | 13 | 1683 | 0.0077243 | 0.069828 | 12 | 1535 | 0.0078176 | 0.070671 | 6 | 799 | 0.0075094 | 0.067885 | 12 | 1820 | 0.0065934 | 0.059604 | 10 | 1481 | 0.0067522 | 0.06104 | 12 | 1654 | 0.0072551 | 0.065586 | 13 | 2012 | 0.0064612 | 0.05841 | 13 | 1754 | 0.0074116 | 0.067001 | 13 | 1893 | 0.0068674 | 0.062081 | 18 | 1442 | 0.012483 | 0.11284 | 8 | 1553 | 0.0051513 | 0.046568 | 11 | 253 | 0.043478 | 0.39304 |  | 0 | 0 | 0 | 339 | 40592 | 0.0083514 | 0.075497
38 | WHEEL FLANGE OD GRINDING |  | 1 | 0 | 0 | 0 | 34 | 331 | 0.10272 | 0.92858 | 36 | 1041 | 0.034582 | 0.31262 | 40 | 955 | 0.041885 | 0.37864 | 29 | 396 | 0.073232 | 0.66202 | 1 | 0 | 0 | 0 | 38 | 771 | 0.049287 | 0.44555 | 21 | 537 | 0.039106 | 0.35352 | 52 | 1075 | 0.048372 | 0.43728 | 41 | 466 | 0.087983 | 0.79536 | 46 | 881 | 0.052213 | 0.47201 | 44 | 766 | 0.057441 | 0.51927 | 41 | 726 | 0.056474 | 0.51052 | 17 | 300 | 0.056667 | 0.51227 | 43 | 876 | 0.049087 | 0.44374 | 41 | 978 | 0.041922 | 0.37898 | 38 | 1037 | 0.036644 | 0.33126 | 39 | 816 | 0.047794 | 0.43206 | 13 | 0 | 0 | 0 | 36 | 881 | 0.040863 | 0.3694 | 19 | 369 | 0.051491 | 0.46547 | 29 | 495 | 0.058586 | 0.52962 | 19 | 704 | 0.026989 | 0.24398 | 43 | 955 | 0.045026 | 0.40704 | 25 | 248 | 0.10081 | 0.91129 | 32 | 510 | 0.062745 | 0.56722 | 40 | 706 | 0.056657 | 0.51218 | 40 | 652 | 0.06135 | 0.5546 | 41 | 932 | 0.043991 | 0.39768 | 21 | 154 | 0.13636 | 1.2327 |  | 0 | 0 | 0 | 960 | 17787 | 0.053972 | 0.48791
50 | TF OD GRINDING |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 66 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 9 | 0 | 0 | 0 |  | 0 | 0 | 0 | 493 | 0 | 0 | 0
42 | WHEEL FLANGE ROBO 894 |  | 0 | 0 | 0 | 0 | 11 | 331 | 0.033233 | 0.30042 | 12 | 1041 | 0.011527 | 0.10421 | 14 | 955 | 0.01466 | 0.13252 | 11 | 396 | 0.027778 | 0.25111 | 1 | 0 | 0 | 0 | 12 | 771 | 0.015564 | 0.1407 | 16 | 537 | 0.029795 | 0.26935 | 19 | 1075 | 0.017674 | 0.15978 | 16 | 466 | 0.034335 | 0.31039 | 18 | 881 | 0.020431 | 0.1847 | 18 | 766 | 0.023499 | 0.21243 | 18 | 726 | 0.024793 | 0.22413 | 8 | 300 | 0.026667 | 0.24107 | 18 | 876 | 0.020548 | 0.18575 | 18 | 978 | 0.018405 | 0.16638 | 20 | 1037 | 0.019286 | 0.17435 | 18 | 816 | 0.022059 | 0.19941 | 8 | 0 | 0 | 0 | 16 | 881 | 0.018161 | 0.16418 | 8 | 369 | 0.02168 | 0.19599 | 8 | 495 | 0.016162 | 0.1461 | 9 | 704 | 0.012784 | 0.11557 | 14 | 955 | 0.01466 | 0.13252 | 11 | 248 | 0.044355 | 0.40097 | 11 | 510 | 0.021569 | 0.19498 | 14 | 706 | 0.01983 | 0.17926 | 10 | 652 | 0.015337 | 0.13865 | 16 | 932 | 0.017167 | 0.15519 | 8 | 154 | 0.051948 | 0.46961 |  | 0 | 0 | 0 | 381 | 17787 | 0.02142 | 0.19364
| Total OD Grinding |  | 1 | 0 | 0 | 0 | 45 | 662 | 0.13595 | 1.229 | 70 | 2082 | 0.04611 | 0.41683 | 76 | 1910 | 0.056545 | 0.51116 | 57 | 792 | 0.10101 | 0.91313 | 3 | 0 | 0 | 0 | 70 | 1542 | 0.064851 | 0.58625 | 57 | 1074 | 0.068901 | 0.62287 | 94 | 2150 | 0.066047 | 0.59706 | 75 | 932 | 0.12232 | 1.1058 | 85 | 1762 | 0.072645 | 0.65671 | 82 | 1532 | 0.08094 | 0.7317 | 71 | 1452 | 0.081267 | 0.73466 | 36 | 600 | 0.083333 | 0.75333 | 81 | 1752 | 0.069635 | 0.6295 | 79 | 1956 | 0.060327 | 0.54536 | 78 | 2074 | 0.055931 | 0.50561 | 74 | 1632 | 0.069853 | 0.63147 | 27 | 0 | 0 | 0 | 69 | 1762 | 0.059024 | 0.53358 | 36 | 738 | 0.073171 | 0.66146 | 50 | 990 | 0.074747 | 0.67572 | 42 | 1408 | 0.039773 | 0.35955 | 79 | 1910 | 0.059686 | 0.53956 | 52 | 496 | 0.14516 | 1.3123 | 57 | 1020 | 0.084314 | 0.7622 | 120 | 1412 | 0.076487 | 0.69144 | 54 | 1304 | 0.076687 | 0.69325 | 76 | 1864 | 0.061159 | 0.55288 | 38 | 308 | 0.18831 | 1.7023 | 0 | 0 | 0 | 0 | 1834 | 35574 | 0.075392 | 0.68154
21 | SHAFT UNO CNC 1 | Shaft Line | 1 | 0 | 0 | 0 | 63 | 623 | 0.10112 | 0.91416 | 35 | 370 | 0.094595 | 0.85514 | 61 | 580 | 0.10517 | 0.95076 | 35 | 300 | 0.11667 | 1.0547 | 2 | 0 | 0 | 0 | 47 | 448 | 0.10491 | 0.94839 | 40 | 400 | 0.1 | 0.904 | 45 | 347 | 0.12968 | 1.1723 | 61 | 473 | 0.12896 | 1.1658 | 56 | 432 | 0.12963 | 1.1719 | 61 | 550 | 0.11091 | 1.0026 | 69 | 670 | 0.10299 | 0.93099 | 31 | 260 | 0.11923 | 1.0778 | 71 | 711 | 0.099859 | 0.90273 | 70 | 749 | 0.093458 | 0.84486 | 27 | 192 | 0.14062 | 1.2712 | 58 | 560 | 0.10357 | 0.93629 | 77 | 804 | 0.095771 | 0.86577 | 75 | 821 | 0.091352 | 0.82582 | 4 | 0 | 0 | 0 | 60 | 635 | 0.094488 | 0.85417 | 33 | 271 | 0.12177 | 1.1008 | 23 | 150 | 0.15333 | 1.3861 | 20 | 130 | 0.15385 | 1.3908 | 55 | 442 | 0.12443 | 1.1249 | 57 | 550 | 0.10364 | 0.93687 | 25 | 130 | 0.19231 | 1.7385 | 69 | 740 | 0.093243 | 0.84292 | 79 | 340 | 0.23235 | 2.1005 |  | 0 | 0 | 0 | 1410 | 12230 | 0.11529 | 1.0422
22 | SHAFT UNO CNC 2 |  | 0 | 0 | 0 | 0 | 63 | 623 | 0.10112 | 0.91416 | 34 | 370 | 0.091892 | 0.8307 | 62 | 580 | 0.1069 | 0.96634 | 34 | 300 | 0.11333 | 1.0245 | 0 | 0 | 0 | 0 | 47 | 448 | 0.10491 | 0.94839 | 39 | 400 | 0.0975 | 0.8814 | 46 | 347 | 0.13256 | 1.1984 | 62 | 473 | 0.13108 | 1.1849 | 56 | 432 | 0.12963 | 1.1719 | 61 | 550 | 0.11091 | 1.0026 | 69 | 670 | 0.10299 | 0.93099 | 30 | 260 | 0.11538 | 1.0431 | 72 | 711 | 0.10127 | 0.91544 | 70 | 749 | 0.093458 | 0.84486 | 28 | 192 | 0.14583 | 1.3183 | 57 | 560 | 0.10179 | 0.92014 | 77 | 804 | 0.095771 | 0.86577 | 75 | 821 | 0.091352 | 0.82582 | 4 | 0 | 0 | 0 | 61 | 635 | 0.096063 | 0.86841 | 32 | 271 | 0.11808 | 1.0675 | 23 | 150 | 0.15333 | 1.3861 | 20 | 130 | 0.15385 | 1.3908 | 56 | 442 | 0.1267 | 1.1453 | 57 | 550 | 0.10364 | 0.93687 | 25 | 130 | 0.19231 | 1.7385 | 70 | 740 | 0.094595 | 0.85514 | 0 | 340 | 0 | 0 |  | 0 | 0 | 0 | 1330 | 12230 | 0.10875 | 0.98309
23 | SHAFT RACK ROLLING |  | 0 | 0 | 0 | 0 | 74 | 1159 | 0.063848 | 0.57719 | 62 | 918 | 0.067538 | 0.61054 | 72 | 1274 | 0.056515 | 0.51089 | 68 | 1216 | 0.055921 | 0.50553 | 1 | 0 | 0 | 0 | 65 | 1170 | 0.055556 | 0.50222 | 69 | 1055 | 0.065403 | 0.59124 | 58 | 567 | 0.10229 | 0.92473 | 57 | 589 | 0.096774 | 0.87484 | 63 | 800 | 0.07875 | 0.7119 | 57 | 555 | 0.1027 | 0.92843 | 66 | 858 | 0.076923 | 0.69538 | 33 | 512 | 0.064453 | 0.58266 | 60 | 632 | 0.094937 | 0.85823 | 73 | 1264 | 0.057753 | 0.52209 | 65 | 1055 | 0.061611 | 0.55697 | 65 | 850 | 0.076471 | 0.69129 | 76 | 960 | 0.079167 | 0.71567 | 69 | 440 | 0.15682 | 1.4176 | 2 | 0 | 0 | 0 | 72 | 1236 | 0.058252 | 0.5266 | 69 | 841 | 0.082045 | 0.74169 | 63 | 791 | 0.079646 | 0.72 | 55 | 568 | 0.096831 | 0.87535 | 63 | 846 | 0.074468 | 0.67319 | 68 | 710 | 0.095775 | 0.8658 | 52 | 936 | 0.055556 | 0.50222 | 88 | 617 | 0.14263 | 1.2893 | 58 | 692 | 0.083815 | 0.75769 |  | 0 | 0 | 0 | 1743 | 21941 | 0.07944 | 0.71814
24 | SHAFT ROBO 892 |  | 0 | 0 | 0 | 0 | 15 | 623 | 0.024077 | 0.21766 | 12 | 370 | 0.032432 | 0.29319 | 13 | 580 | 0.022414 | 0.20262 | 12 | 300 | 0.04 | 0.3616 | 0 | 0 | 0 | 0 | 5 | 448 | 0.011161 | 0.10089 | 15 | 400 | 0.0375 | 0.339 | 12 | 347 | 0.034582 | 0.31262 | 12 | 473 | 0.02537 | 0.22934 | 13 | 432 | 0.030093 | 0.27204 | 12 | 550 | 0.021818 | 0.19724 | 17 | 670 | 0.025373 | 0.22937 | 8 | 260 | 0.030769 | 0.27815 | 11 | 711 | 0.015471 | 0.13986 | 16 | 749 | 0.021362 | 0.19311 | 14 | 192 | 0.072917 | 0.65917 | 14 | 560 | 0.025 | 0.226 | 17 | 804 | 0.021144 | 0.19114 | 11 | 821 | 0.013398 | 0.12112 | 0 | 0 | 0 | 0 | 12 | 635 | 0.018898 | 0.17083 | 13 | 271 | 0.04797 | 0.43365 | 16 | 150 | 0.10667 | 0.96427 | 12 | 130 | 0.092308 | 0.83446 | 11 | 442 | 0.024887 | 0.22498 | 15 | 550 | 0.027273 | 0.24655 | 10 | 130 | 0.076923 | 0.69538 | 16 | 740 | 0.021622 | 0.19546 | 11 | 340 | 0.032353 | 0.29247 |  | 0 | 0 | 0 | 345 | 12230 | 0.028209 | 0.25501
25 | SHAFT WASHING MACHINE |  | 0 | 0 | 0 | 0 | 9 | 623 | 0.014446 | 0.13059 | 14 | 370 | 0.037838 | 0.34205 | 13 | 580 | 0.022414 | 0.20262 | 12 | 300 | 0.04 | 0.3616 | 0 | 0 | 0 | 0 | 6 | 448 | 0.013393 | 0.12107 | 16 | 400 | 0.04 | 0.3616 | 10 | 347 | 0.028818 | 0.26052 | 7 | 473 | 0.014799 | 0.13378 | 14 | 432 | 0.032407 | 0.29296 | 13 | 550 | 0.023636 | 0.21367 | 24 | 670 | 0.035821 | 0.32382 | 7 | 260 | 0.026923 | 0.24338 | 12 | 711 | 0.016878 | 0.15257 | 25 | 749 | 0.033378 | 0.30174 | 7 | 192 | 0.036458 | 0.32958 | 10 | 560 | 0.017857 | 0.16143 | 19 | 804 | 0.023632 | 0.21363 | 3 | 821 | 0.0036541 | 0.033033 | 0 | 0 | 0 | 0 | 16 | 635 | 0.025197 | 0.22778 | 5 | 271 | 0.01845 | 0.16679 | 14 | 150 | 0.093333 | 0.84373 | 6 | 130 | 0.046154 | 0.41723 | 4 | 442 | 0.0090498 | 0.08181 | 10 | 550 | 0.018182 | 0.16436 | 9 | 130 | 0.069231 | 0.62585 | 10 | 740 | 0.013514 | 0.12216 | 18 | 340 | 0.052941 | 0.47859 |  | 0 | 0 | 0 | 313 | 12230 | 0.025593 | 0.23136
26 | SHAFT ROBO 891 |  | 0 | 0 | 0 | 0 | 0 | 623 | 0 | 0 | 0 | 370 | 0 | 0 | 5 | 580 | 0.0086207 | 0.077931 | 8 | 300 | 0.026667 | 0.24107 | 0 | 0 | 0 | 0 | 0 | 448 | 0 | 0 | 0 | 400 | 0 | 0 | 5 | 347 | 0.014409 | 0.13026 | 8 | 473 | 0.016913 | 0.1529 | 8 | 432 | 0.018519 | 0.16741 | 0 | 550 | 0 | 0 | 16 | 670 | 0.023881 | 0.21588 | 2 | 260 | 0.0076923 | 0.069538 | 9 | 711 | 0.012658 | 0.11443 | 8 | 749 | 0.010681 | 0.096555 | 7 | 192 | 0.036458 | 0.32958 | 8 | 560 | 0.014286 | 0.12914 | 8 | 804 | 0.0099502 | 0.08995 | 8 | 821 | 0.0097442 | 0.088088 | 0 | 0 | 0 | 0 | 7 | 635 | 0.011024 | 0.099654 | 8 | 271 | 0.02952 | 0.26686 | 8 | 150 | 0.053333 | 0.48213 | 7 | 130 | 0.053846 | 0.48677 | 8 | 442 | 0.0181 | 0.16362 | 8 | 550 | 0.014545 | 0.13149 | 2 | 130 | 0.015385 | 0.13908 | 8 | 740 | 0.010811 | 0.09773 | 13 | 340 | 0.038235 | 0.34565 |  | 0 | 0 | 0 | 169 | 12230 | 0.013818 | 0.12492
27 | SHAFT MPI |  | 0 | 0 | 0 | 0 | 16 | 623 | 0.025682 | 0.23217 | 13 | 370 | 0.035135 | 0.31762 | 19 | 580 | 0.032759 | 0.29614 | 21 | 300 | 0.07 | 0.6328 | 0 | 0 | 0 | 0 | 3 | 448 | 0.0066964 | 0.060536 | 9 | 400 | 0.0225 | 0.2034 | 11 | 347 | 0.0317 | 0.28657 | 16 | 473 | 0.033827 | 0.30579 | 12 | 432 | 0.027778 | 0.25111 | 6 | 550 | 0.010909 | 0.098618 | 15 | 670 | 0.022388 | 0.20239 | 10 | 260 | 0.038462 | 0.34769 | 8 | 711 | 0.011252 | 0.10172 | 18 | 749 | 0.024032 | 0.21725 | 23 | 192 | 0.11979 | 1.0829 | 14 | 560 | 0.025 | 0.226 | 13 | 804 | 0.016169 | 0.14617 | 22 | 821 | 0.026797 | 0.24224 | 1 | 0 | 0 | 0 | 14 | 635 | 0.022047 | 0.19931 | 9 | 271 | 0.03321 | 0.30022 | 24 | 150 | 0.16 | 1.4464 | 13 | 130 | 0.1 | 0.904 | 13 | 442 | 0.029412 | 0.26588 | 13 | 550 | 0.023636 | 0.21367 | 10 | 130 | 0.076923 | 0.69538 | 15 | 740 | 0.02027 | 0.18324 | 8 | 340 | 0.023529 | 0.21271 |  | 0 | 0 | 0 | 369 | 12230 | 0.030172 | 0.27275
9 | LT ROOM SHAFT EFD |  | 9 | 0 | 0 | 0 | 413 | 1028 | 0.40175 | 3.6318 | 272 | 672 | 0.40476 | 3.659 | 284 | 796 | 0.35678 | 3.2253 | 245 | 646 | 0.37926 | 3.4285 | 52 | 0 | 0 | 0 | 156 | 504 | 0.30952 | 2.7981 | 364 | 726 | 0.50138 | 4.5325 | 333 | 796 | 0.41834 | 3.7818 | 191 | 472 | 0.40466 | 3.6581 | 275 | 554 | 0.49639 | 4.4874 | 176 | 392 | 0.44898 | 4.0588 | 473 | 1202 | 0.39351 | 3.5573 | 164 | 366 | 0.44809 | 4.0507 | 242 | 541 | 0.44732 | 4.0438 | 459 | 1123 | 0.40873 | 3.6949 | 343 | 652 | 0.52607 | 4.7557 | 387 | 1002 | 0.38623 | 3.4915 | 448 | 1092 | 0.41026 | 3.7087 | 187 | 462 | 0.40476 | 3.659 | 3 | 0 | 0 | 0 | 428 | 1068 | 0.40075 | 3.6228 | 315 | 487 | 0.64682 | 5.8472 | 532 | 1376 | 0.38663 | 3.4951 | 250 | 576 | 0.43403 | 3.9236 | 232 | 622 | 0.37299 | 3.3718 | 315 | 710 | 0.44366 | 4.0107 | 200 | 1022 | 0.19569 | 1.7691 | 486 | 599 | 0.81135 | 7.3346 | 299 | 774 | 0.3863 | 3.4922 |  | 0 | 0 | 0 | 8533 | 19756 | 0.43192 | 3.9046
| Total Shaft |  | 12 | 0 | 0 | 0 | 1001 | 6743 | 1.1575 | 10.4636 | 715 | 5617 | 0.91527 | 8.2741 | 838 | 7565 | 0.86492 | 7.8189 | 754 | 5468 | 1.0185 | 9.207 | 76 | 0 | 0 | 0 | 556 | 5672 | 0.77943 | 7.0461 | 818 | 5370 | 1.088 | 9.8355 | 834 | 5185 | 1.0729 | 9.6986 | 752 | 4828 | 1.2162 | 10.9946 | 774 | 5541 | 1.1169 | 10.0964 | 651 | 5742 | 1.0071 | 9.1044 | 1084 | 7597 | 1.0047 | 9.0825 | 451 | 3208 | 1.0666 | 9.6419 | 811 | 7450 | 0.96175 | 8.6942 | 1074 | 8740 | 0.92305 | 8.3444 | 852 | 4659 | 1.3275 | 12.001 | 953 | 6574 | 0.99983 | 9.0385 | 1072 | 8559 | 0.9521 | 8.607 | 705 | 7363 | 0.964 | 8.7146 | 114 | 799 | 0.12516 | 1.1314 | 984 | 7934 | 0.89925 | 8.1292 | 785 | 4435 | 1.3011 | 11.762 | 1040 | 4721 | 1.39 | 12.5658 | 696 | 3936 | 1.2864 | 11.6293 | 712 | 5874 | 0.93397 | 8.4431 | 844 | 6613 | 0.98935 | 8.9437 | 563 | 4180 | 1.0338 | 9.3458 | 1114 | 7209 | 1.4347 | 12.9696 | 734 | 3759 | 1.8298 | 16.5411 | 0 | 0 | 0 | 0 | 22369 | 155669 | 1.0341 | 9.3486
| SPIDER GANTRY | Spider Line | 0 | 0 | 0 | 0 | 13 | 690 | 0.018841 | 0.17032 | 11 | 805 | 0.013665 | 0.12353 | 13 | 700 | 0.018571 | 0.16789 | 13 | 756 | 0.017196 | 0.15545 | 0 | 0 | 0 | 0 | 11 | 756 | 0.01455 | 0.13153 | 12 | 743 | 0.016151 | 0.146 | 13 | 770 | 0.016883 | 0.15262 | 12 | 761 | 0.015769 | 0.14255 | 12 | 847 | 0.014168 | 0.12808 | 12 | 789 | 0.015209 | 0.13749 | 12 | 803 | 0.014944 | 0.13509 | 6 | 0 | 0 | 0 | 13 | 783 | 0.016603 | 0.15009 | 13 | 814 | 0.015971 | 0.14437 | 14 | 755 | 0.018543 | 0.16763 | 14 | 857 | 0.016336 | 0.14768 | 15 | 777 | 0.019305 | 0.17452 | 15 | 651 | 0.023041 | 0.20829 | 1 | 0 | 0 | 0 | 15 | 651 | 0.023041 | 0.20829 | 14 | 676 | 0.02071 | 0.18722 | 15 | 798 | 0.018797 | 0.16992 | 15 | 620 | 0.024194 | 0.21871 | 14 | 710 | 0.019718 | 0.17825 | 15 | 482 | 0.03112 | 0.28133 | 9 | 0 | 0 | 0 | 16 | 620 | 0.025806 | 0.23329 | 14 | 300 | 0.046667 | 0.42187 |  | 0 | 0 | 0 | 352 | 17158 | 0.020515 | 0.18546
31 | SPIDER TURNING TT |  | 0 | 0 | 0 | 0 | 127 | 690 | 0.18406 | 1.6639 | 124 | 805 | 0.15404 | 1.3925 | 138 | 700 | 0.19714 | 1.7822 | 133 | 756 | 0.17593 | 1.5904 | 2 | 0 | 0 | 0 | 127 | 756 | 0.16799 | 1.5186 | 134 | 743 | 0.18035 | 1.6304 | 137 | 770 | 0.17792 | 1.6084 | 146 | 761 | 0.19185 | 1.7343 | 145 | 847 | 0.17119 | 1.5476 | 136 | 789 | 0.17237 | 1.5582 | 146 | 803 | 0.18182 | 1.6436 | 3 | 0 | 0 | 0 | 141 | 783 | 0.18008 | 1.6279 | 143 | 814 | 0.17568 | 1.5881 | 140 | 755 | 0.18543 | 1.6763 | 138 | 857 | 0.16103 | 1.4557 | 122 | 777 | 0.15701 | 1.4194 | 122 | 651 | 0.1874 | 1.6941 | 5 | 0 | 0 | 0 | 128 | 651 | 0.19662 | 1.7775 | 107 | 676 | 0.15828 | 1.4309 | 127 | 798 | 0.15915 | 1.4387 | 102 | 620 | 0.16452 | 1.4872 | 118 | 710 | 0.1662 | 1.5024 | 85 | 482 | 0.17635 | 1.5942 | 58 | 0 | 0 | 0 | 82 | 620 | 0.13226 | 1.1956 | 68 | 300 | 0.22667 | 2.0491 |  | 0 | 0 | 0 | 3184 | 17158 | 0.18557 | 1.6775
34 | SPIDER TURNING SMARTER |  | 0 | 0 | 0 | 0 | 16 | 690 | 0.023188 | 0.20962 | 12 | 805 | 0.014907 | 0.13476 | 15 | 700 | 0.021429 | 0.19371 | 16 | 756 | 0.021164 | 0.19132 | 1 | 0 | 0 | 0 | 15 | 756 | 0.019841 | 0.17937 | 16 | 743 | 0.021534 | 0.19467 | 15 | 770 | 0.019481 | 0.1761 | 9 | 761 | 0.011827 | 0.10691 | 11 | 847 | 0.012987 | 0.1174 | 15 | 789 | 0.019011 | 0.17186 | 12 | 803 | 0.014944 | 0.13509 | 1 | 0 | 0 | 0 | 15 | 783 | 0.019157 | 0.17318 | 15 | 814 | 0.018428 | 0.16658 | 17 | 755 | 0.022517 | 0.20355 | 17 | 857 | 0.019837 | 0.17932 | 16 | 777 | 0.020592 | 0.18615 | 15 | 651 | 0.023041 | 0.20829 | 1 | 0 | 0 | 0 | 14 | 651 | 0.021505 | 0.19441 | 15 | 676 | 0.022189 | 0.20059 | 17 | 798 | 0.021303 | 0.19258 | 14 | 620 | 0.022581 | 0.20413 | 17 | 710 | 0.023944 | 0.21645 | 15 | 482 | 0.03112 | 0.28133 | 4 | 0 | 0 | 0 | 17 | 620 | 0.027419 | 0.24787 | 8 | 300 | 0.026667 | 0.24107 |  | 0 | 0 | 0 | 371 | 17158 | 0.021623 | 0.19547
32 | SPIDER BROACHING |  | 0 | 0 | 0 | 0 | 36 | 230 | 0.15652 | 1.415 | 50 | 813 | 0.061501 | 0.55597 | 72 | 1030 | 0.069903 | 0.63192 | 68 | 915 | 0.074317 | 0.67183 | 3 | 0 | 0 | 0 | 65 | 985 | 0.06599 | 0.59655 | 65 | 850 | 0.076471 | 0.69129 | 67 | 900 | 0.074444 | 0.67298 | 67 | 840 | 0.079762 | 0.72105 | 69 | 1013 | 0.068115 | 0.61576 | 42 | 470 | 0.089362 | 0.80783 | 7 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 47 | 315 | 0.14921 | 1.3488 | 63 | 430 | 0.14651 | 1.3245 | 63 | 80 | 0.7875 | 7.119 | 3 | 0 | 0 | 0 | 52 | 80 | 0.65 | 5.876 | 63 | 602 | 0.10465 | 0.94605 | 34 | 130 | 0.26154 | 2.3643 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 1080 | 8698 | 0.12417 | 1.1225
33 | SPIDER CENTERLESS GRINDING 1 |  | 8 | 0 | 0 | 0 | 46 | 698 | 0.065903 | 0.59576 | 54 | 1133 | 0.047661 | 0.43086 | 55 | 1139 | 0.048288 | 0.43652 | 50 | 1169 | 0.042772 | 0.38666 | 1 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 32 | 433 | 0.073903 | 0.66808 | 58 | 1200 | 0.048333 | 0.43693 | 0 | 1170 | 0 | 0 | 59 | 1068 | 0.055243 | 0.4994 | 56 | 1124 | 0.049822 | 0.45039 | 80 | 1280 | 0.0625 | 0.565 | 37 | 0 | 0 | 0 | 75 | 1106 | 0.067812 | 0.61302 | 61 | 1140 | 0.053509 | 0.48372 | 53 | 1225 | 0.043265 | 0.39112 | 61 | 1190 | 0.051261 | 0.46339 | 68 | 675 | 0.10074 | 0.9107 | 75 | 890 | 0.08427 | 0.7618 | 35 | 425 | 0.082353 | 0.74447 | 57 | 968 | 0.058884 | 0.53231 | 56 | 1255 | 0.044622 | 0.40338 | 63 | 1271 | 0.049567 | 0.44809 | 74 | 1191 | 0.062133 | 0.56168 | 80 | 1415 | 0.056537 | 0.5111 | 66 | 1305 | 0.050575 | 0.4572 | 50 | 1010 | 0.049505 | 0.44752 | 61 | 1353 | 0.045085 | 0.40757 | 54 | 210 | 0.25714 | 2.3246 |  | 0 | 0 | 0 | 1553 | 27043 | 0.057427 | 0.51914
34 | SPIDER CENTERLESS GRINDING 2 |  | 8 | 0 | 0 | 0 | 46 | 991 | 0.046418 | 0.41962 | 55 | 1010 | 0.054455 | 0.49228 | 55 | 1005 | 0.054726 | 0.49473 | 50 | 603 | 0.082919 | 0.74959 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 59 | 1074 | 0.054935 | 0.49661 | 0 | 880 | 0 | 0 | 59 | 1068 | 0.055243 | 0.4994 | 56 | 520 | 0.10769 | 0.97354 | 80 | 846 | 0.094563 | 0.85485 | 37 | 567 | 0.065256 | 0.58991 | 76 | 1011 | 0.075173 | 0.67956 | 61 | 1099 | 0.055505 | 0.50177 | 54 | 1105 | 0.048869 | 0.44177 | 60 | 1091 | 0.054995 | 0.49716 | 69 | 0 | 0 | 0 | 75 | 751 | 0.099867 | 0.9028 | 35 | 275 | 0.12727 | 1.1505 | 56 | 865 | 0.06474 | 0.58525 | 57 | 1169 | 0.04876 | 0.44079 | 63 | 1267 | 0.049724 | 0.4495 | 73 | 1125 | 0.064889 | 0.5866 | 80 | 1395 | 0.057348 | 0.51842 | 66 | 1371 | 0.04814 | 0.43519 | 50 | 782 | 0.063939 | 0.57801 | 61 | 970 | 0.062887 | 0.56849 | 55 | 0 | 0 | 0 |  | 0 | 0 | 0 | 1556 | 22840 | 0.068126 | 0.61586
| Total Spider |  | 16 | 0 | 0 | 0 | 284 | 3989 | 0.49493 | 4.4742 | 306 | 5371 | 0.34623 | 3.1299 | 348 | 5274 | 0.41006 | 3.7069 | 330 | 4955 | 0.41429 | 3.7452 | 7 | 0 | 0 | 0 | 273 | 3253 | 0.26837 | 2.4261 | 292 | 3512 | 0.36841 | 3.3304 | 349 | 5484 | 0.392 | 3.5437 | 234 | 5173 | 0.29921 | 2.7049 | 355 | 5690 | 0.37695 | 3.4076 | 317 | 4481 | 0.45347 | 4.0993 | 337 | 4535 | 0.36877 | 3.3337 | 87 | 567 | 0.065256 | 0.58991 | 328 | 4466 | 0.35882 | 3.2437 | 300 | 4681 | 0.31909 | 2.8846 | 313 | 4595 | 0.31862 | 2.8804 | 337 | 5167 | 0.45266 | 4.0921 | 353 | 3436 | 0.44416 | 4.0152 | 365 | 3674 | 1.2051 | 10.8943 | 80 | 700 | 0.20963 | 1.895 | 322 | 3866 | 1.0148 | 9.1737 | 312 | 5054 | 0.39922 | 3.6089 | 319 | 5062 | 0.56008 | 5.0631 | 309 | 4176 | 0.33831 | 3.0583 | 309 | 4940 | 0.32374 | 2.9266 | 307 | 4122 | 0.3373 | 3.0492 | 171 | 1792 | 0.11344 | 1.0255 | 237 | 4183 | 0.29346 | 2.6528 | 199 | 1110 | 0.55714 | 5.0366 | 0 | 0 | 0 | 0 | 8096 | 110055 | 0.47743 | 4.3159
36 | WHEEL FLANGE THREAD ROLLING | Wheel Flange Line | 0 | 0 | 0 | 0 | 41 | 700 | 0.058571 | 0.52949 | 34 | 742 | 0.045822 | 0.41423 | 1 | 835 | 0.0011976 | 0.010826 | 37 | 1223 | 0.030253 | 0.27349 | 2 | 0 | 0 | 0 | 52 | 1125 | 0.046222 | 0.41785 | 42 | 1000 | 0.042 | 0.37968 | 17 | 497 | 0.034205 | 0.30922 | 22 | 436 | 0.050459 | 0.45615 | 40 | 214 | 0.18692 | 1.6897 | 15 | 380 | 0.039474 | 0.35684 | 39 | 1208 | 0.032285 | 0.29185 | 16 | 450 | 0.035556 | 0.32142 | 18 | 543 | 0.033149 | 0.29967 | 48 | 1100 | 0.043636 | 0.39447 | 16 | 440 | 0.036364 | 0.32873 | 20 | 374 | 0.053476 | 0.48342 | 16 | 0 | 0 | 0 | 41 | 1155 | 0.035498 | 0.3209 | 12 | 264 | 0.045455 | 0.41091 | 21 | 820 | 0.02561 | 0.23151 | 57 | 1440 | 0.039583 | 0.35783 | 32 | 890 | 0.035955 | 0.32503 | 0 | 0 | 0 | 0 | 32 | 700 | 0.045714 | 0.41326 | 41 | 980 | 0.041837 | 0.3782 | 0 | 0 | 0 | 0 | 41 | 995 | 0.041206 | 0.3725 | 2 | 0 | 0 | 0 |  | 0 | 0 | 0 | 755 | 17386 | 0.043426 | 0.39257
37 | WHEEL FLANGE ROBO 893 |  | 0 | 0 | 0 | 0 | 5 | 700 | 0.0071429 | 0.064571 | 8 | 742 | 0.010782 | 0.097466 | 9 | 835 | 0.010778 | 0.097437 | 9 | 1223 | 0.007359 | 0.066525 | 1 | 0 | 0 | 0 | 8 | 1125 | 0.0071111 | 0.064284 | 8 | 1000 | 0.008 | 0.07232 | 9 | 497 | 0.018109 | 0.1637 | 9 | 436 | 0.020642 | 0.18661 | 9 | 214 | 0.042056 | 0.38019 | 8 | 380 | 0.021053 | 0.19032 | 9 | 1208 | 0.0074503 | 0.067351 | 4 | 450 | 0.0088889 | 0.080356 | 9 | 543 | 0.016575 | 0.14983 | 8 | 1100 | 0.0072727 | 0.065745 | 9 | 440 | 0.020455 | 0.18491 | 9 | 374 | 0.024064 | 0.21754 | 10 | 0 | 0 | 0 | 12 | 1155 | 0.01039 | 0.093922 | 3 | 264 | 0.011364 | 0.10273 | 12 | 820 | 0.014634 | 0.13229 | 13 | 1440 | 0.0090278 | 0.081611 | 11 | 890 | 0.01236 | 0.11173 | 9 | 0 | 0 | 0 | 11 | 700 | 0.015714 | 0.14206 | 12 | 980 | 0.012245 | 0.11069 | 5 | 0 | 0 | 0 | 16 | 995 | 0.01608 | 0.14537 | 5 | 0 | 0 | 0 |  | 0 | 0 | 0 | 250 | 17386 | 0.014379 | 0.12999
39 | WHEEL FLANGE GANTRY |  | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 259 | 0 | 0 | 0
40 | WHEEL FLANGE SPLINE ROLLING |  | 1 | 0 | 0 | 0 | 1 | 700 | 0.0014286 | 0.012914 | 0 | 742 | 0 | 0 | 46 | 835 | 0.05509 | 0.49801 | 27 | 1223 | 0.022077 | 0.19957 | 1 | 0 | 0 | 0 | 1 | 1125 | 0.00088889 | 0.0080356 | 1 | 1000 | 0.001 | 0.00904 | 1 | 497 | 0.0020121 | 0.018189 | 0 | 436 | 0 | 0 | 1 | 214 | 0.0046729 | 0.042243 | 1 | 380 | 0.0026316 | 0.023789 | 0 | 1208 | 0 | 0 | 1 | 450 | 0.0022222 | 0.020089 | 0 | 543 | 0 | 0 | 1 | 1100 | 0.00090909 | 0.0082182 | 1 | 440 | 0.0022727 | 0.020545 | 6 | 374 | 0.016043 | 0.14503 | 20 | 0 | 0 | 0 | 2 | 1155 | 0.0017316 | 0.015654 | 0 | 264 | 0 | 0 | 35 | 820 | 0.042683 | 0.38585 | 1 | 1440 | 0.00069444 | 0.0062778 | 1 | 890 | 0.0011236 | 0.010157 | 0 | 0 | 0 | 0 | 0 | 700 | 0 | 0 | 0 | 980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 995 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 149 | 17386 | 0.0085701 | 0.077474
41 | WHEEL FLANGE KEYWAY MACHINE |  | 0 | 0 | 0 | 0 | 8 | 700 | 0.011429 | 0.10331 | 8 | 742 | 0.010782 | 0.097466 | 11 | 835 | 0.013174 | 0.11909 | 18 | 1223 | 0.014718 | 0.13305 | 0 | 0 | 0 | 0 | 12 | 1125 | 0.010667 | 0.096427 | 11 | 1000 | 0.011 | 0.09944 | 7 | 497 | 0.014085 | 0.12732 | 7 | 436 | 0.016055 | 0.14514 | 14 | 214 | 0.065421 | 0.5914 | 6 | 380 | 0.015789 | 0.14274 | 13 | 1208 | 0.010762 | 0.097285 | 6 | 450 | 0.013333 | 0.12053 | 6 | 543 | 0.01105 | 0.09989 | 15 | 1100 | 0.013636 | 0.12327 | 8 | 440 | 0.018182 | 0.16436 | 7 | 374 | 0.018717 | 0.1692 | 4 | 0 | 0 | 0 | 13 | 1155 | 0.011255 | 0.10175 | 3 | 264 | 0.011364 | 0.10273 | 11 | 820 | 0.013415 | 0.12127 | 16 | 1440 | 0.011111 | 0.10044 | 11 | 890 | 0.01236 | 0.11173 | 0 | 0 | 0 | 0 | 8 | 700 | 0.011429 | 0.10331 | 15 | 980 | 0.015306 | 0.13837 | 0 | 0 | 0 | 0 | 16 | 995 | 0.01608 | 0.14537 | 3 | 0 | 0 | 0 |  | 0 | 0 | 0 | 257 | 17386 | 0.014782 | 0.13363
43 | WHEEL FLANGE TURNING TT |  | 0 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 6 | 0 | 0 | 0 |  | 0 | 0 | 0 | 368 | 0 | 0 | 0
| Total Wheeel Flange |  | 7 | 0 | 0 | 0 | 1152 | 5916 | 1.4468 | 13.079 | 1332 | 10471 | 0.76264 | 6.8942 | 1409 | 11295 | 0.75713 | 6.8445 | 1400 | 11102 | 0.86368 | 7.8077 | 77 | 0 | 0 | 0 | 1203 | 9972 | 0.93127 | 8.4186 | 1200 | 8641 | 1.0258 | 9.273 | 1356 | 9358 | 0.82928 | 7.4967 | 1027 | 5463 | 1.1718 | 10.5931 | 1381 | 7403 | 1.1316 | 10.2295 | 1296 | 7537 | 0.93982 | 8.496 | 1317 | 10835 | 0.90039 | 8.1395 | 722 | 4710 | 0.98489 | 8.9034 | 1411 | 9957 | 0.77089 | 6.9688 | 1463 | 11933 | 0.81863 | 7.4004 | 1402 | 9234 | 0.82987 | 7.502 | 1260 | 7214 | 1.0089 | 9.1203 | 1338 | 5049 | 0.72608 | 6.5638 | 1414 | 10987 | 0.92506 | 8.3626 | 656 | 4191 | 0.88478 | 7.9984 | 1308 | 9730 | 0.80735 | 7.2985 | 1383 | 11611 | 0.93206 | 8.4258 | 1404 | 10432 | 0.87541 | 7.9137 | 1369 | 6532 | 0.78532 | 7.0993 | 1388 | 9082 | 0.84759 | 7.6622 | 1478 | 11011 | 0.82152 | 7.4266 | 1027 | 5630 | 0.74104 | 6.699 | 1496 | 10503 | 0.98964 | 8.9464 | 605 | 1067 | 2.3187 | 20.9615 | 0 | 0 | 0 | 0 | 35281 | 226894 | 0.93032 | 8.4101
45 | TF TURNING TT | Transimission Line | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 175 | 0.28 | 2.5312 | 58 | 360 | 0.16111 | 1.4564 | 24 | 246 | 0.097561 | 0.88195 | 6 | 0 | 0 | 0 | 93 | 619 | 0.15024 | 1.3582 | 50 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 80 | 593 | 0.13491 | 1.2196 | 78 | 400 | 0.195 | 1.7628 | 77 | 460 | 0.16739 | 1.5132 | 7 | 204 | 0.034314 | 0.3102 | 0 | 0 | 0 | 0 | 5 | 105 | 0.047619 | 0.43048 | 6 | 213 | 0.028169 | 0.25465 | 6 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 4 | 0 | 0 | 0 |  | 0 | 0 | 0 | 596 | 3375 | 0.17659 | 1.5964
46 | TF GANTRY |  | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 175 | 0.045714 | 0.41326 | 11 | 360 | 0.030556 | 0.27622 | 18 | 246 | 0.073171 | 0.66146 | 5 | 0 | 0 | 0 | 24 | 619 | 0.038772 | 0.3505 | 15 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 13 | 593 | 0.021922 | 0.19818 | 14 | 400 | 0.035 | 0.3164 | 14 | 460 | 0.030435 | 0.27513 | 14 | 204 | 0.068627 | 0.62039 | 1 | 0 | 0 | 0 | 11 | 105 | 0.10476 | 0.94705 | 17 | 213 | 0.079812 | 0.7215 | 19 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 16 | 0 | 0 | 0 |  | 0 | 0 | 0 | 369 | 3375 | 0.10933 | 0.98837
47 | TF TURNING SMARTER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 175 | 0.011429 | 0.10331 | 27 | 360 | 0.075 | 0.678 | 40 | 246 | 0.1626 | 1.4699 | 4 | 0 | 0 | 0 | 43 | 619 | 0.069467 | 0.62798 | 23 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 31 | 593 | 0.052277 | 0.47258 | 39 | 400 | 0.0975 | 0.8814 | 46 | 460 | 0.1 | 0.904 | 30 | 204 | 0.14706 | 1.3294 | 0 | 0 | 0 | 0 | 16 | 105 | 0.15238 | 1.3775 | 26 | 213 | 0.12207 | 1.1035 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 382 | 3375 | 0.11319 | 1.0232
51 | TF BROACHING MACHINE |  | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 175 | 0.12571 | 1.1365 | 22 | 360 | 0.061111 | 0.55244 | 22 | 246 | 0.089431 | 0.80846 | 15 | 0 | 0 | 0 | 36 | 619 | 0.058158 | 0.52575 | 21 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 20 | 593 | 0.033727 | 0.30489 | 20 | 400 | 0.05 | 0.452 | 22 | 460 | 0.047826 | 0.43235 | 22 | 204 | 0.10784 | 0.9749 | 1 | 0 | 0 | 0 | 17 | 105 | 0.1619 | 1.4636 | 20 | 213 | 0.093897 | 0.84883 | 28 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 5 | 0 | 0 | 0 |  | 0 | 0 | 0 | 464 | 3375 | 0.13748 | 1.2428
53 | TF WASHING MACHINE |  | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 51 | 0 | 0 | 0 | 57 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 22 | 175 | 0.12571 | 1.1365 | 30 | 360 | 0.083333 | 0.75333 | 22 | 246 | 0.089431 | 0.80846 | 34 | 0 | 0 | 0 | 7 | 619 | 0.011309 | 0.10223 | 35 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 27 | 593 | 0.045531 | 0.4116 | 25 | 400 | 0.0625 | 0.565 | 50 | 460 | 0.1087 | 0.98261 | 41 | 204 | 0.20098 | 1.8169 | 11 | 0 | 0 | 0 | 27 | 105 | 0.25714 | 2.3246 | 33 | 213 | 0.15493 | 1.4006 | 41 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 38 | 0 | 0 | 0 | 6 | 0 | 0 | 0 |  | 0 | 0 | 0 | 850 | 3375 | 0.25185 | 2.2767
| Total TF |  | 6 | 0 | 0 | 0 | 1087 | 2298 | 1.3548 | 12.2472 | 1300 | 5696 | 0.68861 | 6.225 | 1397 | 5940 | 0.66994 | 6.0563 | 1381 | 4404 | 0.78263 | 7.0749 | 74 | 0 | 0 | 0 | 1144 | 4162 | 0.85874 | 7.763 | 1212 | 4327 | 1.5422 | 13.9419 | 1438 | 7430 | 1.1645 | 10.5272 | 1084 | 4020 | 1.585 | 14.3284 | 1347 | 4952 | 0.82374 | 7.4466 | 1435 | 7617 | 1.1781 | 10.6502 | 1370 | 4486 | 0.84264 | 7.6175 | 721 | 2140 | 0.9132 | 8.2554 | 1440 | 5774 | 0.70365 | 6.361 | 1436 | 5674 | 0.74564 | 6.7406 | 1490 | 8639 | 1.0337 | 9.345 | 1363 | 6356 | 1.327 | 11.9964 | 1445 | 5666 | 1.1727 | 10.6013 | 1410 | 5852 | 1.4172 | 12.8115 | 637 | 2336 | 0.80909 | 7.3142 | 1272 | 5155 | 1.4282 | 12.9112 | 1366 | 5435 | 1.3438 | 12.1476 | 1408 | 5218 | 0.80636 | 7.2895 | 1411 | 4520 | 0.77886 | 7.0409 | 1327 | 4528 | 0.76732 | 6.9366 | 1449 | 5198 | 0.74527 | 6.7372 | 1040 | 4188 | 0.72856 | 6.5862 | 1478 | 4970 | 0.91113 | 8.2366 | 597 | 814 | 2.2753 | 20.5684 | 0 | 0 | 0 | 0 | 35565 | 133633 | 1.6293 | 14.7285
28 | ASSEMBLY LINE | Main Assembly line | 9 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 72 | 597 | 0.1206 | 1.0903 | 80 | 628 | 0.12739 | 1.1516 | 77 | 913 | 0.084337 | 0.76241 | 2 | 0 | 0 | 0 | 52 | 523 | 0.099426 | 0.89881 | 17 | 0 | 0 | 0 | 75 | 1004 | 0.074701 | 0.6753 | 82 | 1157 | 0.070873 | 0.64069 | 76 | 0 | 0 | 0 | 74 | 1046 | 0.070746 | 0.63954 | 69 | 0 | 0 | 0 | 7 | 744 | 0.0094086 | 0.085054 | 72 | 1089 | 0.066116 | 0.59769 | 70 | 1083 | 0.064635 | 0.5843 | 68 | 960 | 0.070833 | 0.64033 | 73 | 958 | 0.0762 | 0.68885 | 64 | 345 | 0.18551 | 1.677 | 71 | 801 | 0.088639 | 0.8013 | 4 | 0 | 0 | 0 | 65 | 1235 | 0.052632 | 0.47579 | 64 | 1167 | 0.054841 | 0.49577 | 59 | 925 | 0.063784 | 0.57661 | 34 | 400 | 0.085 | 0.7684 | 32 | 517 | 0.061896 | 0.55954 | 68 | 1125 | 0.060444 | 0.54642 | 62 | 1063 | 0.058325 | 0.52726 | 75 | 764 | 0.098168 | 0.88743 | 62 | 684 | 0.090643 | 0.81942 |  | 0 | 0 | 0 | 1651 | 19205 | 0.085967 | 0.77714
| Total ASSY |  | 9 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 72 | 597 | 0.1206 | 1.0903 | 80 | 628 | 0.12739 | 1.1516 | 77 | 913 | 0.084337 | 0.76241 | 2 | 0 | 0 | 0 | 52 | 523 | 0.099426 | 0.89881 | 17 | 0 | 0 | 0 | 75 | 1004 | 0.074701 | 0.6753 | 82 | 1157 | 0.070873 | 0.64069 | 76 | 0 | 0 | 0 | 74 | 1046 | 0.070746 | 0.63954 | 69 | 0 | 0 | 0 | 7 | 744 | 0.0094086 | 0.085054 | 72 | 1089 | 0.066116 | 0.59769 | 70 | 1083 | 0.064635 | 0.5843 | 68 | 960 | 0.070833 | 0.64033 | 73 | 958 | 0.0762 | 0.68885 | 64 | 345 | 0.18551 | 1.677 | 71 | 801 | 0.088639 | 0.8013 | 4 | 0 | 0 | 0 | 65 | 1235 | 0.052632 | 0.47579 | 64 | 1167 | 0.054841 | 0.49577 | 59 | 925 | 0.063784 | 0.57661 | 34 | 400 | 0.085 | 0.7684 | 32 | 517 | 0.061896 | 0.55954 | 68 | 1125 | 0.060444 | 0.54642 | 62 | 1063 | 0.058325 | 0.52726 | 75 | 764 | 0.098168 | 0.88743 | 62 | 684 | 0.090643 | 0.81942 | 0 | 0 | 0 | 0 | 1651 | 19205 | 0.085967 | 0.77714
16 | LT ROOM COMPRESSOR 75 KW | UTILITY | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 597 | 0.001675 | 0.015142 | 1 | 628 | 0.0015924 | 0.014395 | 1 | 913 | 0.0010953 | 0.0099014 | 5 | 0 | 0 | 0 | 1 | 523 | 0.001912 | 0.017285 | 1 | 0 | 0 | 0 | 1 | 1004 | 0.00099602 | 0.009004 | 1 | 1157 | 0.0008643 | 0.0078133 | 1 | 0 | 0 | 0 | 1 | 1046 | 0.00095602 | 0.0086424 | 1 | 0 | 0 | 0 | 4 | 744 | 0.0053763 | 0.048602 | 6 | 1089 | 0.0055096 | 0.049807 | 1 | 1083 | 0.00092336 | 0.0083472 | 2 | 960 | 0.0020833 | 0.018833 | 1 | 958 | 0.0010438 | 0.0094363 | 1 | 345 | 0.0028986 | 0.026203 | 1 | 801 | 0.0012484 | 0.011286 | 2 | 0 | 0 | 0 | 5 | 1235 | 0.0040486 | 0.036599 | 1 | 1167 | 0.0008569 | 0.0077464 | 1 | 925 | 0.0010811 | 0.009773 | 1 | 400 | 0.0025 | 0.0226 | 2 | 517 | 0.0038685 | 0.034971 | 1 | 1125 | 0.00088889 | 0.0080356 | 1 | 1063 | 0.00094073 | 0.0085042 | 1 | 764 | 0.0013089 | 0.011832 | 2 | 684 | 0.002924 | 0.026433 |  | 0 | 0 | 0 | 50 | 19205 | 0.0026035 | 0.023536
17 | LT ROOM COMPRESSOR 55 KW |  | 127 | 0 | 0 | 0 | 503 | 0 | 0 | 0 | 519 | 597 | 0.86935 | 7.8589 | 574 | 628 | 0.91401 | 8.2627 | 554 | 913 | 0.60679 | 5.4854 | 227 | 0 | 0 | 0 | 480 | 523 | 0.91778 | 8.2967 | 519 | 0 | 0 | 0 | 542 | 1004 | 0.53984 | 4.8802 | 518 | 1157 | 0.44771 | 4.0473 | 495 | 0 | 0 | 0 | 487 | 1046 | 0.46558 | 4.2089 | 410 | 0 | 0 | 0 | 300 | 744 | 0.40323 | 3.6452 | 534 | 1089 | 0.49036 | 4.4328 | 500 | 1083 | 0.46168 | 4.1736 | 488 | 960 | 0.50833 | 4.5953 | 481 | 958 | 0.50209 | 4.5389 | 479 | 345 | 1.3884 | 12.5512 | 486 | 801 | 0.60674 | 5.4849 | 317 | 0 | 0 | 0 | 591 | 1235 | 0.47854 | 4.326 | 617 | 1167 | 0.52871 | 4.7795 | 520 | 925 | 0.56216 | 5.0819 | 553 | 400 | 1.3825 | 12.4978 | 550 | 517 | 1.0638 | 9.617 | 542 | 1125 | 0.48178 | 4.3553 | 450 | 1063 | 0.42333 | 3.8269 | 603 | 764 | 0.78927 | 7.135 | 539 | 684 | 0.78801 | 7.1236 |  | 0 | 0 | 0 | 14505 | 19205 | 0.75527 | 6.8277
| LT ROOM APFC PANNEL |  | 36 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 42 | 597 | 0.070352 | 0.63598 | 43 | 628 | 0.068471 | 0.61898 | 45 | 913 | 0.049288 | 0.44556 | 50 | 0 | 0 | 0 | 30 | 523 | 0.057361 | 0.51855 | 9 | 0 | 0 | 0 | 31 | 1004 | 0.030876 | 0.27912 | 49 | 1157 | 0.042351 | 0.38285 | 46 | 0 | 0 | 0 | 46 | 1046 | 0.043977 | 0.39755 | 49 | 0 | 0 | 0 | 49 | 744 | 0.06586 | 0.59538 | 51 | 1089 | 0.046832 | 0.42336 | 50 | 1083 | 0.046168 | 0.41736 | 46 | 960 | 0.047917 | 0.43317 | 47 | 958 | 0.049061 | 0.44351 | 50 | 345 | 0.14493 | 1.3101 | 48 | 801 | 0.059925 | 0.54172 | 49 | 0 | 0 | 0 | 39 | 1235 | 0.031579 | 0.28547 | 54 | 1167 | 0.046272 | 0.4183 | 52 | 925 | 0.056216 | 0.50819 | 45 | 400 | 0.1125 | 1.017 | 50 | 517 | 0.096712 | 0.87427 | 52 | 1125 | 0.046222 | 0.41785 | 40 | 1063 | 0.037629 | 0.34017 | 59 | 764 | 0.077225 | 0.69812 | 49 | 684 | 0.071637 | 0.6476 |  | 0 | 0 | 0 | 1336 | 19205 | 0.069565 | 0.62887
| LT ROOM FIRE HYDRANT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 597 | 0 | 0 | 0 | 628 | 0 | 0 | 0 | 913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1004 | 0 | 0 | 1 | 1157 | 0.0008643 | 0.0078133 | 2 | 0 | 0 | 0 | 0 | 1046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 0 | 1089 | 0 | 0 | 0 | 1083 | 0 | 0 | 4 | 960 | 0.0041667 | 0.037667 | 0 | 958 | 0 | 0 | 0 | 345 | 0 | 0 | 0 | 801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1235 | 0 | 0 | 0 | 1167 | 0 | 0 | 0 | 925 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 517 | 0 | 0 | 0 | 1125 | 0 | 0 | 0 | 1063 | 0 | 0 | 1 | 764 | 0.0013089 | 0.011832 | 0 | 684 | 0 | 0 |  | 0 | 0 | 0 | 8 | 19205 | 0.00041656 | 0.0037657
| LT ROOM LIGHTNING DB |  | 79 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 146 | 597 | 0.24456 | 2.2108 | 152 | 628 | 0.24204 | 2.188 | 145 | 913 | 0.15882 | 1.4357 | 65 | 0 | 0 | 0 | 69 | 523 | 0.13193 | 1.1927 | 139 | 0 | 0 | 0 | 141 | 1004 | 0.14044 | 1.2696 | 136 | 1157 | 0.11755 | 1.0626 | 135 | 0 | 0 | 0 | 146 | 1046 | 0.13958 | 1.2618 | 109 | 0 | 0 | 0 | 125 | 744 | 0.16801 | 1.5188 | 136 | 1089 | 0.12489 | 1.129 | 159 | 1083 | 0.14681 | 1.3272 | 141 | 960 | 0.14688 | 1.3277 | 156 | 958 | 0.16284 | 1.4721 | 144 | 345 | 0.41739 | 3.7732 | 179 | 801 | 0.22347 | 2.0202 | 77 | 0 | 0 | 0 | 158 | 1235 | 0.12794 | 1.1565 | 175 | 1167 | 0.14996 | 1.3556 | 165 | 925 | 0.17838 | 1.6125 | 174 | 400 | 0.435 | 3.9324 | 178 | 517 | 0.34429 | 3.1124 | 188 | 1125 | 0.16711 | 1.5107 | 165 | 1063 | 0.15522 | 1.4032 | 184 | 764 | 0.24084 | 2.1772 | 185 | 684 | 0.27047 | 2.445 |  | 0 | 0 | 0 | 4261 | 19205 | 0.22187 | 2.0057
| LT EOOM UTILITY INCOMER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 597 | 0 | 0 | 0 | 628 | 0 | 0 | 0 | 913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1004 | 0 | 0 | 0 | 1157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 0 | 1089 | 0 | 0 | 0 | 1083 | 0 | 0 | 0 | 960 | 0 | 0 |  | 958 | 0 | 0 | 0 | 345 | 0 | 0 | 0 | 801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1235 | 0 | 0 | 0 | 1167 | 0 | 0 | 0 | 925 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 517 | 0 | 0 | 0 | 1125 | 0 | 0 | 0 | 1063 | 0 | 0 | 0 | 764 | 0 | 0 | 0 | 684 | 0 | 0 |  | 0 | 0 | 0 | 0 | 19205 | 0 | 0
| LT ROOM SHOP FLOOR OFFICE LIGHTNING AC |  | 20 | 0 | 0 | 0 | 47 | 0 | 0 | 0 | 42 | 597 | 0.070352 | 0.63598 | 42 | 628 | 0.066879 | 0.60459 | 41 | 913 | 0.044907 | 0.40596 | 15 | 0 | 0 | 0 | 35 | 523 | 0.066922 | 0.60497 | 46 | 0 | 0 | 0 | 54 | 1004 | 0.053785 | 0.48622 | 56 | 1157 | 0.048401 | 0.43755 | 48 | 0 | 0 | 0 | 44 | 1046 | 0.042065 | 0.38027 | 47 | 0 | 0 | 0 | 31 | 744 | 0.041667 | 0.37667 | 46 | 1089 | 0.042241 | 0.38185 | 45 | 1083 | 0.041551 | 0.37562 | 42 | 960 | 0.04375 | 0.3955 | 49 | 958 | 0.051148 | 0.46238 | 50 | 345 | 0.14493 | 1.3101 | 49 | 801 | 0.061174 | 0.55301 | 21 | 0 | 0 | 0 | 40 | 1235 | 0.032389 | 0.29279 | 43 | 1167 | 0.036847 | 0.33309 | 44 | 925 | 0.047568 | 0.43001 | 46 | 400 | 0.115 | 1.0396 | 46 | 517 | 0.088975 | 0.80433 | 36 | 1125 | 0.032 | 0.28928 | 30 | 1063 | 0.028222 | 0.25513 | 43 | 764 | 0.056283 | 0.5088 | 41 | 684 | 0.059942 | 0.54187 |  | 0 | 0 | 0 | 1239 | 19205 | 0.064514 | 0.58321
| LT ROOM HTP |  | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 6 | 597 | 0.01005 | 0.090854 | 7 | 628 | 0.011146 | 0.10076 | 7 | 913 | 0.007667 | 0.06931 | 0 | 0 | 0 | 0 | 7 | 523 | 0.013384 | 0.12099 | 6 | 0 | 0 | 0 | 7 | 1004 | 0.0069721 | 0.063028 | 7 | 1157 | 0.0060501 | 0.054693 | 7 | 0 | 0 | 0 | 7 | 1046 | 0.0066922 | 0.060497 | 8 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 7 | 1089 | 0.0064279 | 0.058108 | 7 | 1083 | 0.0064635 | 0.05843 | 7 | 960 | 0.0072917 | 0.065917 | 8 | 958 | 0.0083507 | 0.075491 | 7 | 345 | 0.02029 | 0.18342 | 7 | 801 | 0.0087391 | 0.079001 | 0 | 0 | 0 | 0 | 7 | 1235 | 0.005668 | 0.051239 | 7 | 1167 | 0.0059983 | 0.054225 | 7 | 925 | 0.0075676 | 0.068411 | 7 | 400 | 0.0175 | 0.1582 | 6 | 517 | 0.011605 | 0.10491 | 5 | 1125 | 0.0044444 | 0.040178 | 5 | 1063 | 0.0047037 | 0.042521 | 8 | 764 | 0.010471 | 0.09466 | 7 | 684 | 0.010234 | 0.092515 |  | 0 | 0 | 0 | 173 | 19205 | 0.0090081 | 0.081433
| LT ROOM ETP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 597 | 0 | 0 | 0 | 628 | 0 | 0 | 1 | 913 | 0.0010953 | 0.0099014 | 0 | 0 | 0 | 0 | 0 | 523 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1004 | 0 | 0 | 1 | 1157 | 0.0008643 | 0.0078133 | 1 | 0 | 0 | 0 | 0 | 1046 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 744 | 0 | 0 | 0 | 1089 | 0 | 0 | 0 | 1083 | 0 | 0 | 1 | 960 | 0.0010417 | 0.0094167 | 0 | 958 | 0 | 0 | 0 | 345 | 0 | 0 | 1 | 801 | 0.0012484 | 0.011286 | 0 | 0 | 0 | 0 | 0 | 1235 | 0 | 0 | 0 | 1167 | 0 | 0 | 1 | 925 | 0.0010811 | 0.009773 | 0 | 400 | 0 | 0 | 0 | 517 | 0 | 0 | 0 | 1125 | 0 | 0 | 0 | 1063 | 0 | 0 | 2 | 764 | 0.0026178 | 0.023665 | 0 | 684 | 0 | 0 |  | 0 | 0 | 0 | 10 | 19205 | 0.0005207 | 0.0047071
| POWER DB POWER DB INCOMER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 597 | 0 | 0 | 0 | 628 | 0 | 0 | 0 | 913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1004 | 0 | 0 | 0 | 1157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1046 | 0 | 0 |  | 0 | 0 | 0 |  | 744 | 0 | 0 | 0 | 1089 | 0 | 0 | 0 | 1083 | 0 | 0 | 0 | 960 | 0 | 0 | 0 | 958 | 0 | 0 | 0 | 345 | 0 | 0 | 0 | 801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1235 | 0 | 0 | 0 | 1167 | 0 | 0 | 0 | 925 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 517 | 0 | 0 | 0 | 1125 | 0 | 0 | 0 | 1063 | 0 | 0 | 0 | 764 | 0 | 0 | 0 | 684 | 0 | 0 |  | 0 | 0 | 0 | 0 | 19205 | 0 | 0
| POWER DB TOOLROOM STORE DB BOX |  | 10 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 26 | 597 | 0.043551 | 0.3937 | 27 | 628 | 0.042994 | 0.38866 | 23 | 913 | 0.025192 | 0.22773 | 4 | 0 | 0 | 0 | 21 | 523 | 0.040153 | 0.36298 | 38 | 0 | 0 | 0 | 30 | 1004 | 0.02988 | 0.27012 | 37 | 1157 | 0.031979 | 0.28909 | 25 | 0 | 0 | 0 | 29 | 1046 | 0.027725 | 0.25063 | 28 | 0 | 0 | 0 | 10 | 744 | 0.013441 | 0.12151 | 23 | 1089 | 0.02112 | 0.19093 | 21 | 1083 | 0.019391 | 0.17529 | 27 | 960 | 0.028125 | 0.25425 | 33 | 958 | 0.034447 | 0.3114 | 30 | 345 | 0.086957 | 0.78609 | 33 | 801 | 0.041199 | 0.37243 | 6 | 0 | 0 | 0 | 24 | 1235 | 0.019433 | 0.17568 | 24 | 1167 | 0.020566 | 0.18591 | 30 | 925 | 0.032432 | 0.29319 | 25 | 400 | 0.0625 | 0.565 | 22 | 517 | 0.042553 | 0.38468 | 28 | 1125 | 0.024889 | 0.225 | 20 | 1063 | 0.018815 | 0.17008 | 25 | 764 | 0.032723 | 0.29581 | 22 | 684 | 0.032164 | 0.29076 |  | 0 | 0 | 0 | 729 | 19205 | 0.037959 | 0.34315
| POWER DB SECURITY GATE |  | 25 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 25 | 597 | 0.041876 | 0.37856 | 25 | 628 | 0.039809 | 0.35987 | 25 | 913 | 0.027382 | 0.24754 | 25 | 0 | 0 | 0 | 25 | 523 | 0.047801 | 0.43212 | 25 | 0 | 0 | 0 | 25 | 1004 | 0.0249 | 0.2251 | 25 | 1157 | 0.021608 | 0.19533 | 25 | 0 | 0 | 0 | 25 | 1046 | 0.023901 | 0.21606 | 25 | 0 | 0 | 0 | 25 | 744 | 0.033602 | 0.30376 | 25 | 1089 | 0.022957 | 0.20753 | 25 | 1083 | 0.023084 | 0.20868 | 25 | 960 | 0.026042 | 0.23542 | 25 | 958 | 0.026096 | 0.23591 | 25 | 345 | 0.072464 | 0.65507 | 25 | 801 | 0.031211 | 0.28215 | 25 | 0 | 0 | 0 | 25 | 1235 | 0.020243 | 0.183 | 25 | 1167 | 0.021422 | 0.19366 | 25 | 925 | 0.027027 | 0.24432 | 25 | 400 | 0.0625 | 0.565 | 25 | 517 | 0.048356 | 0.43714 | 25 | 1125 | 0.022222 | 0.20089 | 25 | 1063 | 0.023518 | 0.21261 | 25 | 764 | 0.032723 | 0.29581 | 25 | 684 | 0.03655 | 0.33041 |  | 0 | 0 | 0 | 750 | 19205 | 0.039052 | 0.35303
| Total Utility |  | 298 | 0 | 0 | 0 | 746 | 0 | 0 | 0 | 807 | 7164 | 1.3518 | 12.2199 | 871 | 7536 | 1.3869 | 12.538 | 842 | 10956 | 0.92223 | 8.337 | 391 | 0 | 0 | 0 | 668 | 6276 | 1.2772 | 11.5463 | 784 | 0 | 0 | 0 | 831 | 12048 | 0.82769 | 7.4823 | 831 | 13884 | 0.71824 | 6.4929 | 785 | 0 | 0 | 0 | 785 | 12552 | 0.75048 | 6.7843 | 678 | 0 | 0 | 0 | 544 | 8928 | 0.73118 | 6.6099 | 828 | 13068 | 0.76033 | 6.8734 | 808 | 12996 | 0.74608 | 6.7445 | 783 | 11520 | 0.81562 | 7.3732 | 800 | 11496 | 0.83507 | 7.5491 | 786 | 4140 | 2.2783 | 20.5955 | 829 | 9612 | 1.035 | 9.356 | 497 | 0 | 0 | 0 | 889 | 14820 | 0.71984 | 6.5073 | 946 | 14004 | 0.81063 | 7.3281 | 845 | 11100 | 0.91351 | 8.2582 | 876 | 4800 | 2.19 | 19.7976 | 879 | 6204 | 1.7002 | 15.3697 | 877 | 13500 | 0.77956 | 7.0472 | 736 | 12756 | 0.69238 | 6.2591 | 951 | 9168 | 1.2448 | 11.2527 | 870 | 8208 | 1.2719 | 11.4982 | 0 | 0 | 0 | 0 | 23061 | 230460 | 1.2008 | 10.8551
| TORAL CONSUMPTION |  | 340 |  |  |  | 2896 |  |  |  | 3028 |  |  |  | 3322 |  |  |  | 3177 |  |  |  | 533 |  |  |  | 2559 |  |  |  | 2948 |  |  |  | 3279 |  |  |  | 2714 |  |  |  | 3158 |  |  |  | 3061 |  |  |  | 3294 |  |  |  | 1691 |  |  |  | 3208 |  |  |  | 3463 |  |  |  | 3251 |  |  |  | 3259 |  |  |  | 3485 |  |  |  | 3243 |  |  |  | 1264 |  |  |  | 3330 |  |  |  | 3291 |  |  |  | 3424 |  |  |  | 3055 |  |  |  | 3122 |  |  |  | 3336 |  |  |  | 2375 |  |  |  | 3603 |  |  |  | 2253 |  |  |  | 0 |  |  |  | 84962